## Slide 1: Facility assessment and improvement project
Multi floor office evaluation
Faisal abuajmah 219110245
Mohammed alyami 219110701
Abdullah alharbi 221110552
Supervised by Dr. RAKAN Albaluwi

## Slide 2: Roadmap
Facility overview (ENG. Faisal)
Facility Selection & Location (ENG. Mohammed)
Layout & Space Utilization (ENG. Mohammed)
Operations & Maintenance (ENG. Mohammed)
Safety & Risk Management (ENG. Mohammed)
Project Management Plan (ENG.Mohammed)
Conclusion & Reflection (ENG. Abdullah)

## Slide 3: Facility overview
Our goal in this facility is to improve the layout and safety , systems , management
Our key focus areas will be HVAC systems , safety , space utilization
We will try to identify the problems and solve then if we can

## Slide 4: Facility Selection & Location
Chosen due to high population area
Easy public transport access
Supports smart building development
Regulatory compliance (ongoing)

## Slide 5: Layout & Space Utilization
IT Room relocation weakened network on 6th floor
Floor 5 has poor smart system integration
Rooftop and basement unused due to lack of systems
Suggestions: Improve networks, utilize rooftop and basement

## Slide 6: Operations & Maintenance
HVAC partially installed; loop malfunction on ground floor
Electric Submeters
No preventive maintenance in place
Suggestions:
Install and test HVAC
Introduce centralized Building Management System
Electric Submeters for all floors
BMS
VAV

## Slide 7: Safety & Risk Management
Incomplete access control (fingerprint/card)
CCTV placement needs review
Emergency systems need validation
Recommendations:
Install access systems
Finalize CCTV and fire safety integration

## Slide 8: Project Management Plan
Tasks:
Network reassessment (Floors 5 & 6)
HVAC & access system completion
Status:
Ground floor configuration starting soon
Rooftop: 2 days of work needed
Schedule:
1 week: CCTV & cables
2–3 weeks: HVAC, access
1 month: Full integration/testing

## Slide 9: Conclusion & Reflection
Progress made, but delayed by technical dependencies
Missing systems affect smart building goals
Need for proactive management and regular maintenance

## Slide 10: Thank you